## Slide 1: NeuroDOT 2.2.0 Base
Appendix - Visualizations

## Slide 2
NeuroDOT 2 Overview Flowchart

## Slide 3: Preprocessing Pipeline Flowchart
S-D Measurements
Detect Noisy Channels
High Pass Filter
Linear Detrending
Low Pass Filter 1
Superficial Signal Regression
Logmean Light Levels
Low Pass Filter 2
1 Hz Resampling
Block Averaging

## Slide 4: Introduction
This appendix is intended to serve as a reference for all visualization functions included in the toolbox.

## Slide 5: Generating Data
First, we'll need to run NeuroDOT_Base_DOT_Processing_Script.m, using 'Data/NeuroDOT_Base_HW_Sample_1.mat' as the sample.
This will generate the data from which we create all of the visualizations.
Visualizations will be presented in alphabetical order, with their code prompts in blue, and screenshots to show what the visualizations should look like.

## Slide 6: List of Visualizations
PlotCap
PlotCapData
PlotCapGoodMeas
PlotCapMeanLL
PlotFalloffData
PlotFalloffLL
PlotGray
PlotGrayData
PlotHistogramData
PlotHistogramSTD
PlotInterpSurfMesh
PlotLRMeshes
PlotMeshSurface
PlotPowerSpectrumAllMeas
PlotPowerSpectrumData
PlotPowerSpectrumMean
PlotSlices
PlotSlicesTimeTrace
PlotTimeTraceAllMeas
PlotTimeTraceData
PlotTimeTraceMean

## Slide 7: PlotCap
PlotCap(info)

## Slide 8: PlotCapData
Ns = numel(unique(info.pairs.Src)); Nd = numel(unique(info.pairs.Det)); SrcRGB = repmat([1, 0, 1], Ns, 1); DetRGB = repmat([1, 1, 0], Nd, 1); PlotCapData(SrcRGB, DetRGB, info)

## Slide 9: PlotCapGoodMeas
params.rlimits = [10, 16; 27, 33; 36, 42; 46, 52]; PlotCapGoodMeas(info)

## Slide 10: PlotCapMeanLL
params.rlimits = [10, 33]; PlotCapMeanLL(data, info, params)

## Slide 11: PlotFalloffData
% Mercury, Venus, Earth, Mars, Ceres, Jupiter, Saturn, Uranus, Neptune, Pluto orbital_velocity = [47.36, 35.02, 29.78, 24.01, 17.91, 13.07, 9.68, 6.80, 5.43, 4.67];% In km/s orbital_radius = [.387, .723, 1.000, 1.523, 2.768, 5.204, 9.583, 19.218, 30.110, 39.480];% In AU PlotFalloffData(orbital_velocity', orbital_radius); % Transpose velocity to input as mean levels.

## Slide 12: PlotFalloffLL
PlotFalloffLL(data, info)

## Slide 13: PlotGray
PlotGray(lmdata, info)

## Slide 14: PlotGrayData
load clown PlotGrayData(X')

## Slide 15: PlotHistogramData
PlotHistogramData(X(:))

## Slide 16: PlotHistogramSTD
PlotHistogramSTD(info)

## Slide 17: PlotInterpSurfMesh
load('LR_Meshes_MNI_164k.mat') cortex_HbOvol = Good_Vox2vol(cortex_HbO, dim); cortex_HbOvol = normalize2range_tts(cortex_HbOvol, 1:4); t13_21 = mean(cortex_HbOvol(:, :, :, 13:21), 4); PlotInterpSurfMesh(t13_21, MNIl, MNIr, dim)

## Slide 18: PlotLRMeshes
PlotLRMeshes(MNIl, MNIr)

## Slide 19: PlotMeshSurface
load('Cap_Fitter_Mesh_Sample.mat') params.Nregs = 1:5; PlotMeshSurface(mesh, infoA, params)

## Slide 20: PlotPowerSpectrumAllMeas
params.rlimits = [10, 16]; PlotPowerSpectrumAllMeas(lmdata, info, params)

## Slide 21: PlotPowerSpectrumData
PlotPowerSpectrumData(X, info)

## Slide 22: PlotPowerSpectrumMean
PlotPowerSpectrumMean(lmdata, info, params)

## Slide 23: PlotSlices
load('Atlas_MNI152nl_T1_on_111.mat') PlotSlices(atlas, [], [], t13_21)

## Slide 24: PlotSlicesMov
cortex_HbO = normalize2range_tts(cortex_HbO, 1:4); cortex_HbOvol = Good_Vox2vol(cortex_HbO, dim); avg_size = 9; cortex_HbO_avg = filter(ones(avg_size, 1)/avg_size, 1, cortex_HbO, [], 2); cortex_HbOvol_avg = Good_Vox2vol(cortex_HbO_avg, dim); PlotSlicesMov(atlas, dim, params, cortex_HbOvol_avg, 'test')

## Slide 25: PlotSlicesTimeTrace
PlotSlicesTimeTrace(atlas, dim, params, cortex_HbOvol_avg)

## Slide 26: PlotTimeTraceAllMeas
PlotTimeTraceAllMeas(data, info, params)

## Slide 27: PlotTimeTraceData
PlotTimeTraceData(X, 1:size(X,2))

## Slide 28: PlotTimeTraceMean
PlotTimeTraceMean(lmdata, info, params)

## Slide 29: That’s It (Again)
Congratulations! You have finished the NeuroDOT 2 Base Preprocessing Pipeline Analysis Appendix.
For further questions or more information, please consult the NeuroDOT 2 Base User Manual and the various Appendices.
NeuroDOT 2 Team:
  Adam Eggebrecht (aeggebre@wustl.edu)
  David Muccigrosso (muccigrosso.david@wustl.edu)