## Slide 1: NeuroDOT 2.2.0 Base
Appendix - File IO

## Slide 2: List(s) of Functions
The File IO functions can be split into three workflows.
Name | Purpose
Check4MissingData | Check .mag file against frame synch file.
Crop2Synch | Crops data to synch points.
InterpretPulses | Reads synch pulses into an experiment paradigm.
InterpretStimSynch | Calculate frequency information.
InterpretSynchBeeps | Convert frequency information into stim synch pulses.
Load_AcqDecode_Data | Loads a single AcqDecode file.
LoadMulti_AcqDecode_Data | Loads and combines data from multiple AcqDecode files for a single scan.
Read_AcqDecode_Header | Reads the header section of a binary NIRS file.
ReadAux | Read auxiliary channel files.
ReadInfoTxt | Read -info.txt files.
Raw .mag File Loading

## Slide 3: List(s) of Functions
Name | Purpose
LoadVolumetricData | Loads a volumetric data file.
Make_NativeSpace_4dfp | Calculates native space of incomplete 4dfp header.
Read_4dfp_Header | Reads the .ifh header of a 4dfp file.
Read_NIFTI_Header | Reads a NIFTI file header.
SaveVolumetricData | Saves volumetric data in supported formats.
Write_4dfp_Header | Writes a 4dfp header.
Write_NIFTI | Prepares a "nii" structure to be written to file.
Volumetric File IO

## Slide 4: List(s) of Functions
Name | Purpose
converter_HOMER_to_ND2 | Converts workspace from HOMER to ND2.
converter_ND2_to_HOMER | Converts workspace from ND2 to HOMER.
Load_HOMER | Converts and loads a HOMER2 ".nirs" file into ND2.
Save_HOMER | Converts an ND2 workspace to HOMER2 ".nirs" format to save.
HOMER Conversion

## Slide 5: List(s) of Functions
Name | Purpose
converter_data | Converts ND1 data to ND2 data.
converter_info | Converts ND1 info to ND2 info.
converter_ND1_to_ND2 | Converts all ND1 variables to ND2 variables.
converter_ND2_to_ND1 | Converts all ND2 variables to ND1 variables.
ND1-to_ND2 Conversion

## Slide 6: Volumetric File IO

## Slide 7: Volumetric File IO
NeuroDOT often requires the loading and saving of volumetric data, such as atlases, segmentations, and (obviously) fNIRS volumes reconstructed in NeuroDOT itself.
NeuroDOT uses 4dfp internally as its "native" format - that is, all volumetric data are handled as a 4dfp-format header structure plus a volume array.
NeuroDOT currently supports both 4dfp and the more popular NIFTI* format, and both are interchangeably readable and writable with zero information loss.
The original headers of non-4dfp files are always stored if present.
* NeuroDOT uses the NIFTI_Reader toolbox from MATLAB Central for read-write functionality, and interprets NIFTI headers to 4dfp format using math based on source code shared by Tim Coalson from his "nifti-4dfp" toolbox.

## Slide 8: Volumetric File IO
Let's load up a volumetric atlas file. 1. Set some path and file name variables: filename = 'mni152nl_T1_on_111'; file_type = '4dfp'; 2. Load the atlas and its .ifh key file: [atlas, ifh] = LoadVolumetricData(filename, [], file_type); All done! The atlas is now loaded into your workspace.

## Slide 9: Volumetric File IO
Now, let's transform this atlas from its current space to the cap space, and then save it. 1. First, we'll load the dim variable from the large cap A-matrix file: load('/Support_Files/A_Adult_96x92.mat', 'dim') 2. Next, we do the transform, using the 'nearest' interpolation method: atlas_trans = affine3d_img(atlas, ifh, dim, [], 'nearest');

## Slide 10: Volumetric File IO
3. Before we can save, we'll have to copy over the important fields of dim to a copy of ifh, to reflect the new space we're in: ifh2 = ifh; ifh2.nVx = dim.nVx; ifh2.nVy = dim.nVy; ifh2.nVz = dim.nVz; ifh2.mmppix = dim.mmppix; ifh2.mmx = abs(dim.mmppix(1)); ifh2.mmy = abs(dim.mmppix(2)); ifh2.mmz = abs(dim.mmppix(3)); ifh2.center = dim.center;

## Slide 11: Volumetric File IO
4. Last, we'll save the new atlas back into a 4dfp file. We'll do this using a full file name this time, instead of the filetype and pn arguments - both SaveVolumetricData and LoadVolumetricData support this behavior: SaveVolumetricData(atlas_trans, ifh2, 'atlas_trans_test.4dfp')
Try loading this new file on your own to see if it matches! Note that both LoadVolumetricData and SaveVolumetric data work exactly the same way for NIFTI files.

## Slide 12: HOMER Conversion

## Slide 13: HOMER Conversion
NeuroDOT's HOMER support (website: http://homer-fnirs.org/) consists of two high-level functions, Load_HOMER and Save_HOMER, and the converters they are based on, converter_HOMER_to_ND2 and converter_ND2_to_HOMER.
We've included the "test_homer2.nirs" sample from the HOMER2 User's Guide to demonstrate. 1. Load the sample. [data, info] = Load_HOMER('test_homer2.nirs');

## Slide 14: HOMER Conversion
We can see that the sample is loaded into the MATLAB workspace as our familiar data and info variables.
We can just as easily save this file back into HOMER's MAT-file based ".nirs" format. 2. Save the sample. Save_HOMER(data, info, 'test_HOMER_SAVE.nirs')

## Slide 15: HOMER Conversion
Because of differences in how HOMER and NeuroDOT handle pipeline results, some workarounds may be necessary.
HOMER uses the convention that nirs.d is the raw data to be operated on, and the processed data is saved in the fields of nirs.procResult.
Since NeuroDOT's pipeline structure does not dictate specific variable names at any stage of any pipeline, if you wish to work on partially processed HOMER data, you will have to load the data from nirs.procResult.
All HOMER-to-ND2 converted files retain the entire original nirs structure in info.io.nirs.

## Slide 16: HOMER Conversion
When transferring data back to HOMER after operating on it in ND2, it is recommended to simply save the your ND2 results in nirs.d (using Save_HOMER's data input), and then to proceed with the rest of the desired pipeline in HOMER. For instance, if you wished to save regression corrected data after running NeuroDOT_Base_Preprocessing_Pipeline_Script.m, the command would be: Save_HOMER(SSRdata, info, 'test_HOMER_SAVE.nirs')
Alternatively, extensions in HOMER could be written to incorporate desired ND2 functions natively, using the converters provided as guides. However, this is outside the scope of the NeuroDOT project.

## Slide 17: That’s It (For Now)
Congratulations! You have finished the NeuroDOT 2 Beta Appendix - File IO.
For further questions or more information, please consult the NeuroDOT 2 Beta User Manual and the various Appendices.
NeuroDOT 2 Team:
  Adam Eggebrecht (aeggebre@wustl.edu)
  Jason Trobaugh (jasont@wustl.edu)